{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["つめ付ヒューズ"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"つめ付ヒューズ","index":0,"n_rows":37,"n_cols":7,"rows_kept":37,"cut":false,"hidden":false,"merged":[[3,0,3,1],[4,0,4,1],[5,2,5,6],[5,0,5,1],[35,0,36,0],[7,0,8,0],[9,0,14,0],[15,0,23,0],[24,0,27,0],[28,0,29,0],[30,0,32,0],[33,0,34,0]]}
[]
["電気用品の区分","つめ付ヒューズ"]
["電気用品名","つめ付ヒューズ"]
["届出の内容（新規届出／追加／削除の別）"]
["製品名・型番等（メモ欄）"]
["型式の区分",null,"整理番号等"]
["要素","区分","①","②","③","④","⑤"]
["定格電圧","（１）　１２５Ｖ以下のもの"]
[null,"（２）　１２５Ｖを超えるもの"]
["定格電流（定格電流表示のあるものの場合に限る。）","（１）　５Ａ以下のもの"]
[null,"（２）　５Ａを超え１５Ａ以下のもの"]
[null,"（３）　１５Ａを超え３０Ａ以下のもの"]
[null,"（４）　３０Ａを超え６０Ａ以下のもの"]
[null,"（５）　６０Ａを超え１００Ａ以下のもの"]
[null,"（６）　１００Ａを超えるもの"]
["適用電動機の定格容量（定格電流表示のないものの場合に限る。）","（１）　単相で２００Ｗ以下のもの"]
[null,"（２）　単相で２００Ｗを超え４００Ｗ以下のもの"]
[null,"（３）　単相で４００Ｗを超え７５０Ｗ以下のもの"]
[null,"（４）　単相で７５０Ｗを超えるもの"]
[null,"（５）　３相で７５０Ｗ以下のもの"]
[null,"（６）　３相で７５０Ｗを超え２．２ｋＷ以下のもの"]
[null,"（７）　３相で２．２ｋＷを超え３．７ｋＷ以下のもの"]
[null,"（８）　３相で３．７ｋＷを超え７．５ｋＷ以下のもの"]
[null,"（９）　３相で７．５ｋＷを超えるもの"]
["可溶体の主材料","（１）　亜鉛のもの"]
[null,"（２）　鉛のもの"]
[null,"（３）　すずのもの"]
[null,"（４）　その他のもの"]
["可溶体とつめとの接続の方式","（１）　ろう付けのもの"]
[null,"（２）　一体として成形されているもの"]
["可溶体の形状","（１）　糸状のもの"]
[null,"（２）　板状のもの"]
[null,"（３）　その他のもの"]
["可溶体の数","（１）　１のもの"]
[null,"（２）　２以上のもの"]
["用途","（１）　電動機用のもの"]
[null,"（２）　その他のもの"]